Kildare County Council

Driver Controlled Deliveries

Form of Application for certificate to operate,

Driver controlled deliveries in accordance with

Dangerous Substances (Retail & Private Petroleum Stores) Regulations, 1979 (S.I. No. 311 of 1979) and

# Dangerous Substances (Retail & Private Petroleum Stores)

(Amendment) Regulations, 1988 (S.I. No. 303 of 1988)

- Applicant/Licensee:

Name and address/registered office of the company, firm or person:

- Location of retail store:

- Particulars of information to accompany this application (see attached list Schedule 1):

I, ____________________ , hereby certify that the information supplied is true to the best of my knowledge and belief.

Signature of Applicant / Licensee: __________________________________

Postal address of Applicant / Licensee: ______________________________

______________________________

Date of application:  __/___/__.

(For completion by Licensing Authority only)

Remarks:

Kildare County Council

Driver Controlled Deliveries in accordance with

Dangerous Substances (Retail & Private Petroleum Stores) Regulations, 1979 (S.I. No. 311 of 1979)

# Dangerous Substances (Retail & Private Petroleum Stores)

(Amendment) Regulations, 1988 (S.I. No. 303 of 1988)

### Schedule 1 - Information to accompany DCD Application

- Completed application form.

- Copy of valid DSA license for this site.

- Copy of valid Stage 1B vapour recovery certificate for this site.

- Confirm if the vapour recovery manifold is high/low level.

- If manifold is at low level, confirm over-fill prevention devices are fitted.

- Submit detailed assessment of site to demonstrate it is adapted and suitably equipped for DCD to be performed.

- Submit a detailed site plan (2No. copies) clearly indicating the location(s) and details of items 8-18 as detailed below.

- Indicate location of DCD control cabinet and confirm it is located outside the off-loading tanker stand area.

- Confirm the location of the filling point of each underground tank and that they are locked in accordance with clauses 1(a)(i)-(ii).

- Confirm there is measuring device provided on site for each underground storage tank in accordance with clauses 1(b)(i)-(iv).

- Confirm there is a ticket printer capable of issuing a ticket providing the information in accordance with clauses 1(c)(i)(ii).

- Confirm that each underground tank is provided with an audible alarm and overfill prevention device in accordance with clauses 1(d)(i)-(iii).

- Submit certification to demonstrate that there is adequate, accessible lighting to achieve 100 lux in the areas identified in clause 1(e).

- Confirm that there is a telephone provided for driver use in the event of an emergency in accordance with clause 1(f).

- Confirm there are two serviced fire extinguishers in an accessible location on the site in accordance with clause 1(g)(i)-(ii).

- Confirm there is dry sand (25kgs) or other absorbent material provided to contain spillages in accordance with clause 1(h)

- Confirm that a plan of the premises is provided on site for the driver indicating the items as detailed in clause 1(i).

- Confirm that a dispenser isolation switch is provided and is accessible to the tanker driver in accordance with clause 1(j).

Kildare County Council

Driver Controlled Deliveries in accordance with

Dangerous Substances (Retail & Private Petroleum Stores) Regulations, 1979 (S.I. No. 311 of 1979)

# Dangerous Substances (Retail & Private Petroleum Stores)

(Amendment) Regulations, 1988 (S.I. No. 303 of 1988)

### Information to accompany DCD Application

- Confirm that tankers used for DCD are fitted with bottom operated foot valves in accordance with clause (9).

- Provide details in relation to fuel supplier, nominated tanker drivers and evidence of tanker driver training in DCD procedures in accordance with clause (10).

- Provide evidence of staff training in relation to service station emergency procedures and DCD procedures in accordance with clause (10).

- Confirm that the Petrol Station has a site specific Emergency Response Plan.

- Confirm if the Emergency Response Plan was activated within the previous/ current petroleum licensing period.

Note:

- Staff training records are to be available on site / or to be submitted for review by the inspecting officer, if requested.

- Driver training records are to be available on site / or to be submitted for review by the inspecting officer, if requested.