Petroleum Licence Application Requirements and Fees

- Application Requirements:

  - Please refer to clause 12 of SI 311, 1979 for details of site plans, site location plans, forecourt plan details, sections through underground storage tanks and dispensers required for the application. For sites that are already constructed “as installed drawings” must be submitted.

  - In addition to this the following is also required:

    - Inspection certificate in respect of dispensers. In addition to this, if the dispenser is modified with a credit card reader, certification is required demonstrating how the modified dispenser complies with ATEX Regulations.

    - Inspection certificate in respect of electrical installation

    - Pipework and Tank test certificates.

  - Details of any LPG storage on the site (either bulk or cylinder)

  - Appropriate fee for the quantity of Petroleum Class 1 product on site, effective 01/01/12.

| Class 1 Quantity Stored | 1 Year Licence (€) | 3 Year Licence (€) |
| --- | --- | --- |
| Up to 500 litres | 330.78 | 338.40 |
| 501 - 2,500 litres | 334.59 | 349.83 |
| 2501 - 5,000 litres | 338.40 | 361.26 |
| 5,001 - 25,000 litres | 342.21 | 372.68 |
| 25,001 - 50,000 litres | 357.45 | 418.39 |
| 50,001 - 100,000 litres | 372.68 | 464.11 |
| 100,001 - 250,000 litres | 390.46 | 517.43 |
| exceeding 250,000 litres | 453.95 | 707.90 |